## Data_base_case
Red: Don't change the name without changing the Julia code |  |  |  |  | Used (1 or 0) | Capacity units | Output units | Unit tag | Yearly demand (output) | Produced from | El balance | Heat balance | H2 balance | Max Capacity | Fuel production rate (kg output/kg input) | Heat generated (kWh/output) | Load min (% of max capacity) | Ramp up (% of capacity /h) | Ramp down (% of capacity /h) | Electrical consumption (kWh/output) | Investment (EUR/Capacity installed) | Fixed cost (EUR/Capacity installed/y) | Variable cost (EUR/output) | Fuel selling price (EUR/output) | Fuel buying price (EUR/output) | Annuity factor
| Subsets | Subsets_2 | Type of units | Parameters--> | Used (1 or 0) | Capacity units | Output units | Unit tag | Yearly demand (output) | Produced from | El balance | Heat balance | H2 balance | Max Capacity | Fuel production rate (kg output/kg input) | Heat generated (kWh/output) | Load min (% of max capacity) | Ramp up (% of capacity /h) | Ramp down (% of capacity /h) | Electrical consumption (kWh/output) | Investment (EUR/Capacity installed) | Fixed cost (EUR/Capacity installed/y) | Variable cost (EUR/output) | Fuel selling price (EUR/output) | Fuel buying price (EUR/output) | Annuity factor
|  |  |  | Year--> | All | All | All | All | All | All | All | All | All | All | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025
[5 empty] | Used (1 or 0)All | Capacity unitsAll | Output unitsAll | Unit tagAll | Yearly demand (output)All | Produced fromAll | El balanceAll | Heat balanceAll | H2 balanceAll | Max CapacityAll | Fuel production rate (kg output/kg input)2025 | Heat generated (kWh/output)2025 | Load min (% of max capacity)2025 | Ramp up (% of capacity /h)2025 | Ramp down (% of capacity /h)2025 | Electrical consumption (kWh/output)2025 | Investment (EUR/Capacity installed)2025 bench | Fixed cost (EUR/Capacity installed/y)2025 | Variable cost (EUR/output)2025 | Fuel selling price (EUR/output)2025 | Fuel buying price (EUR/output)2025 | Annuity factor2025
|  |  |  | Line/Column index | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Non-electrical | Product | NoSubset | CO2 capture DAC | 1 | 1 | kgCO2/h | kgCO2 | CO2 DAC | 0 | Product/Reactant1 | 0 | 0 | 0 | 40000 | 1.46 | 0 | 0% | 100% | 100% | 0.5 | 813.8505 | 353.444 | 0.35344 | 0 | 0 | 0.10185
| Product | NoSubset | CO2 capture PS | 2 | 1 | kgCO2/h | kgCO2 | CO2 PS | 0 | Product/Reactant1 | 0 | 0 | 0 | 40000 | 1.46 | 0 | 0% | 100% | 100% | 0 | 813.8505 | 353.444 | 0.35344 | 0 | 0 | 0
| Product/Reactant1 | Min_demand_MainFuel | MeOH plant CCU with AEC | 3 | 1 | kgMeOH/h | kgMeOH | MeOH | 10595158 | Reactant2 | 0 | 1 | 0 | 20000 | 10595158 | 1.391 | 40% | 20% | 20% | 2.88 | 22601.4614 | 3306.68 | 0.4581 | 0 | 0 | 0.088496
| Product | Min_demand_MainFuel | NH3 plant + ASU with AEC | 4 | 1 | kgNH3/h | kgNH3 | NH3-AEC | 100000000 | Reactant6 | 0 | 1 | 0 | 20000 | 5.5556 | 0 | 40% | 20% | 20% | 0.47 | 18057.96 | 722.3184 | 0 | 0 | 0 | 0.088496
| Product | Min_demand_MainFuel | NH3 plant + ASU with SOEC | 5 | 1 | kgNH3/h | kgNH3 | NH3-SOEC | 100000000 | Reactant6 | 0 | 1 | 0 | 20000 | 5.5556 | 0 | 40% | 20% | 20% | 0.61 | 18057.96 | 722.3184 | 0 | 0 | 0 | 0.088496
| Product | Min_demand_MainFuel | H2 end-user | 6 | 1 | kgH2/h | kgH2 | H2-client | 1 | Reactant7 | 0 | 1 | 0 | 20000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Reactant8 | NoSubset | Water supply (desalination plant) | 7 | 1 | kgH2O/h | kgH2O | H2O sea | 0 | - | 0 | 0 | 0 | 400000 | 0 | 0 | 0% | 100% | 100% | 0.00675 | 1 | 0.03 | 3e-05 | 0 | 0 | 0.11683
| Product/Reactant3 | NoSubset | Electrolysers AEC | 8 | 1 | kgH2/h | kgH2 | H2_from_AEC | 0 | Reactant8 | 0 | 1 | 1 | 20000 | 0.01 | 0.01 | 0% | 100% | 100% | 0.01 | 1 | 0.01 | 0.0001 | 0 | 0 | 0.088496
| Product/Reactant3 | NoSubset | Electrolysers SOEC heat integrated | 9 | 1 | kgH2/h | kgH2 | H2_from_SOEC_HI | 0 | Reactant8 | 0 | 1 | 1 | 20000 | 0.1166 | 0 | 0% | 100% | 100% | 37.9 | 105260 | 8999.73 | 0 | 0 | 0 | 0.088496
| Reactant2 | NoSubset | H2 pipeline to MeOH CCU plant | 10 | 1 | kgH2/h | kgH2 | H2_pipeline_to_MeOHCCU_plant | 0 | - | 0 | 0 | -1 | 20000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Reactant6 | NoSubset | H2 pipeline to NH3 plant | 11 | 1 | kgH2/h | kgH2 | H2_pipeline_to_NH3_plant | 0 | - | 0 | 0 | -1 | 20000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Reactant7 | NoSubset | H2 pipeline to end-user | 12 | 1 | kgH2/h | kgH2 | H2_pipeline_to_client | 0 | - | 0 | 0 | -1 | 20000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat_in | NoSubset | Heat from district heating | 13 | 1 | kWth | kWhth | Heat_import | 0 | - | 0 | 1 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat_out | Heat_sell | Heat sent to district heating | 14 | 1 | kWth | kWhth | Heat_export | 0 | - | 0 | -1 | 0 | 2000000 | 0 | 1 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0.023 | 0 | 0
| Product | O2_sell | Sale of oxygen | 15 | 1 | kgO2/h | kgO2 | O2 | 0 | Product/Reactant3 | 0 | 0 | 0 | 180000 | 8 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0.05 | 0 | 0
| Stor_in | NoSubset | H2 storage compressor | 16 | 1 | kgH2/h | kgH2 | H2_to_pipe | 0 | - | 0 | 0 | -1 | 20000 | 0 | 0 | 0% | 100% | 100% | 0.94 | 0 | 0 | 0 | 0 | 0 | 0.093679
| Stor_out | NoSubset | H2 storage valve | 17 | 1 | kgH2/h | kgH2 | H2_from_pipe | 0 | - | 0 | 0 | 1 | 20000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tank | NoSubset | H2 storage (buried pipes) | 18 | 1 | kgH2 | kgH2 | H2_stored_pipe | 0 | - | 0 | 0 | 0 | 20000000 | 0 | 0 | 9% | 100% | 100% | 0 | 250 | 7.5 | 0.0075 | 0 | 0 | 0.081743
Electrical | RPU_Solar_fixed | NoSubset | Solar fixed | 19 | 1 | kWe | kWhe | Solar_fixed | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 457.2 | 15 | 0 | 0 | 0 | 0.085803
| RPU_Solar_tracking | NoSubset | Solar tracking | 20 | 1 | kWe | kWhe | Solar_tracking | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 662.94 | 21 | 0 | 0 | 0 | 0.085803
| RPU_VES_V120_2200 (onshore, IIA, 80m) | NoSubset | VES_V120_2200 (onshore, IIA, 80m) | 21 | 1 | kWe | kWhe | SP198-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1478.297 | 25 | 0 | 0 | 0 | 0.091448
| RPU_VES_V120_2200 (onshore, IIA, 118m) | NoSubset | VES_V120_2200 (onshore, IIA, 118m) | 22 | 1 | kWe | kWhe | SP198-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1677 | 25 | 0 | 0 | 0 | 0.091448
| RPU_VES_V120_2200 (onshore, IIA, 137m) | NoSubset | VES_V120_2200 (onshore, IIA, 137m) | 23 | 1 | kWe | kWhe | SP237-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1776 | 25 | 0 | 0 | 0 | 0.091448
| RPU_VES_V150_4200 (onshore, IIIB, 105m) | NoSubset | VES_V150_4200 (onshore, IIIB, 105m) | 24 | 1 | kWe | kWhe | SP237-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1546 | 25 | 0 | 0 | 0 | 0.091448
| RPU_VES_V150_4200 (onshore, IIIB, 145m) | NoSubset | VES_V150_4200 (onshore, IIIB, 145m) | 25 | 1 | kWe | kWhe | SP277-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1656 | 25 | 0 | 0 | 0 | 0.091448
| RPU_VES_V150_4200 (onshore, IIIB, 166m) | NoSubset | VES_V150_4200 (onshore, IIIB, 166m) | 26 | 1 | kWe | kWhe | SP277-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1713 | 25 | 0 | 0 | 0 | 0.091448
| RPU_SIE_G5 (onshore, IIB, 90m) | NoSubset | SIE_G5 (onshore, IIB, 90m) | 27 | 1 | kWe | kWhe | SP321-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1501 | 25 | 0 | 0 | 0 | 0.091448
| RPU_SIE_G5 (onshore, IIB, 102m) | NoSubset | SIE_G5 (onshore, IIB, 102m) | 28 | 1 | kWe | kWhe | SP321-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1530 | 25 | 0 | 0 | 0 | 0.091448
| RPU_SIE_G5 (onshore, IIB, 127m) | NoSubset | SIE_G5 (onshore, IIB, 127m) | 29 | 1 | kWe | kWhe | SP379-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1588 | 25 | 0 | 0 | 0 | 0.091448
| RPU_NOR_N131 (onshore, IIIS, 84m) | NoSubset | NOR_N131 (onshore, IIIS, 84m) | 30 | 1 | kWe | kWhe | SP379-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1490 | 25 | 0 | 0 | 0 | 0.091448
| RPU_NOR_N131 (onshore, IIIS, 100m) | NoSubset | NOR_N131 (onshore, IIIS, 100m) | 31 | 1 | kWe | kWhe | SP450-HH100 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1537 | 25 | 0 | 0 | 0 | 0.091448
| RPU_NOR_N131 (onshore, IIIS, 134m) | NoSubset | NOR_N131 (onshore, IIIS, 134m) | 32 | 1 | kWe | kWhe | SP450-HH150 | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 1638 | 25 | 0 | 0 | 0 | 0.091448
| PU_Grid_in | Grid_buy | Electricity from the grid | 33 | 1 | kWe | kWhe | Power_from_the_grid | 0 | - | 1 | 0 | 0 | 2000000 | 0 | 0 | 0% | 100% | 100% | 0 | 180 | 144 | 0 | 0 | 0.01665 | 0.088827
| Grid_out | NoSubset | Curtailment | 34 | 1 | kWe | kWhe | Curtailment | 0 | - | -1 | 0 | 0 | 24000 | 0 | 0 | 0% | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Stor_in | NoSubset | Charge batteries | 35 | 1 | kWe | kWhe | Electricity_to_batteries | 0 | - | -1 | 0 | 0 | 10000000 | 0 | 0 | 0% | 100% | 100% | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
| Stor_out | NoSubset | Discharge batteries | 36 | 1 | kWe | kWhe | Electricity_from_batteries | 0 | - | 1 | 0 | 0 | 60000000 | 0 | 0 | 0% | 100% | 100% | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
| Tank | NoSubset | Batteries | 37 | 1 | kWe | kWhe | Electricity_stored | 0 | - | 0 | 0 | 0 | 20000000 | 0 | 0 | 10% | 100% | 100% | 0 | 450 | 6.75 | 0 | 0 | 0 | 0.11683
Note on P6: Author: Based on MMZCS2023
Note on P7: Author: Based on MMZCS2023
Note on R8: Author: Based on MMZCS2023
Note on S8: Author: Assumed to be similar to an ammonia plant. Ramp rate for an ammonia plant is from Armijo2020
Note on T8: Author: Assumed to be similar to an ammonia plant. Ramp rate for an ammonia plant is from Armijo2020
Note on U12: Author: Based on BhmWP12023
Note on V12: Author: From BhmWP12023
Note on W12: Author: 3% Capex based on BhmWP12023
Note on U21: Author: Compression work from 20 to 100 bars
Note on R23: Author: Based on Papadias2021
Note on V23: Author: Based on Papadias2021
Note on W23: Author: 3% Capex based on Induspart2023
Note on V24: Author: Based on Campion2023
Note on W24: Author: Based on Campion2023
Note on X24: Author: Based on Campion2023
Note on V25: Author: Based on Campion2023
Note on W25: Author: Based on Campion2023
Note on X25: Author: Based on Campion2023
Note on V26: Author: Based on Campion2023
Note on W26: Author: Based on Campion2023
Note on X26: Author: Based on Campion2023
Note on V27: Author: Based on Campion2023
Note on W27: Author: Based on Campion2023
Note on X27: Author: Based on Campion2023
Note on V28: Author: Based on Campion2023
Note on W28: Author: Based on Campion2023
Note on X28: Author: Based on Campion2023
Note on V29: Author: Based on Campion2023
Note on W29: Author: Based on Campion2023
Note on X29: Author: Based on Campion2023
Note on V30: Author: Based on Campion2023
Note on W30: Author: Based on Campion2023
Note on X30: Author: Based on Campion2023
Note on V31: Author: Based on Campion2023
Note on W31: Author: Based on Campion2023
Note on X31: Author: Based on Campion2023
Note on V32: Author: Based on Campion2023
Note on W32: Author: Based on Campion2023
Note on X32: Author: Based on Campion2023
Note on V33: Author: Based on Campion2023
Note on W33: Author: Based on Campion2023
Note on X33: Author: Based on Campion2023
Note on V34: Author: Based on Campion2023
Note on W34: Author: Based on Campion2023
Note on X34: Author: Based on Campion2023
Note on V35: Author: Based on Campion2023
Note on W35: Author: Based on Campion2023
Note on X35: Author: Based on Campion2023
Note on V36: Author: Based on Campion2023
Note on W36: Author: Based on Campion2023
Note on X36: Author: Based on Campion2023
Note on V37: Author: Based on Campion2023
Note on W37: Author: Based on Campion2023
Note on X37: Author: Based on Campion2023
Note on U40: Author: Based on Induspart2023
Note on U41: Author: Based on Induspart2023
Note on R42: Author: Based on communication with industrial partners
Note on V42: Author: From Induspart2023 with high logistics and ground work costs
Note on W42: Author: 1.5% Capex based on Induspart2023

## Selected_units
| Fuel produced | NH3 | NH3 | MeOH | MeOH | MeOH | MeOH | H2 | H2 | H2
| Fuel energy content LHV (MJ/kg fuel) | 18.6 | 18.6 | 19.9 | 19.9 | 19.9 | 19.9 | 120 | 120 | 120
| Electrolyser | AEC | SOEC | AEC | SOEC | AEC | SOEC | AEC | SOEC | Mix
| Carbon capture | None | None | DAC | DAC | PS | PS | None | None | None
| Configuration | NH3_AEC_None | NH3_SOEC_None | MeOH_AEC_DAC | MeOH_SOEC_DAC | MeOH_AEC_PS | MeOH_SOEC_PS | H2_AEC_None | H2_SOEC_None | H2_Mix_None
1 | CO2 capture DAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | CO2 capture PS | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
3 | MeOH plant CCU with AEC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4 | NH3 plant + ASU with AEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | NH3 plant + ASU with SOEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | H2 end-user | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Water supply (desalination plant) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8 | Electrolysers AEC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
9 | Electrolysers SOEC heat integrated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | H2 pipeline to MeOH CCU plant | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
11 | H2 pipeline to NH3 plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | H2 pipeline to end-user | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Heat from district heating | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
14 | Heat sent to district heating | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
15 | Sale of oxygen | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
16 | H2 storage compressor | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
17 | H2 storage valve | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
18 | H2 storage (buried pipes) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
19 | Solar fixed | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
20 | Solar tracking | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
21 | VES_V120_2200 (onshore, IIA, 80m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | VES_V120_2200 (onshore, IIA, 118m) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
23 | VES_V120_2200 (onshore, IIA, 137m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | VES_V150_4200 (onshore, IIIB, 105m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | VES_V150_4200 (onshore, IIIB, 145m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | VES_V150_4200 (onshore, IIIB, 166m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SIE_G5 (onshore, IIB, 90m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIE_G5 (onshore, IIB, 102m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | SIE_G5 (onshore, IIB, 127m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | NOR_N131 (onshore, IIIS, 84m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | NOR_N131 (onshore, IIIS, 100m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | NOR_N131 (onshore, IIIS, 134m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Electricity from the grid | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
34 | Curtailment | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
35 | Charge batteries | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
36 | Discharge batteries | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
37 | Batteries | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0

## Scenarios_definition
Changes also include the changes made in the reference scenario. If nothing is specified in the reference scenario column, changes are made compared to the input data sheet (i.e Data_base_case)
Change are made compared to the reference scenario. "Chains" of reference scenarios doesn't work.
Reference scenario | Scenario name definition | Type of units for change | Parameter changed | Year new value | New value | Year old value | Old value | Used (1 or 0)All | Unit tagAll | Yearly demand (output)All | Produced fromAll | El balanceAll | Heat balanceAll | Max CapacityAll | H2 balanceAll | #REF! | #REF! | #REF! | #REF! | #REF! | Fuel production rate (kg output/kg input)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Heat generated (kWh/output)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Load min (% of max capacity)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Ramp up (% of capacity /h)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Ramp down (% of capacity /h)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Electrical consumption (kWh/output)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Investment (EUR/Capacity installed)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Fixed cost (EUR/Capacity installed/y)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Variable cost (EUR/output)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Fuel selling price (EUR/output)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | Fuel buying price (EUR/output)2025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Annuity factor2025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Semi-islanded | Electricity from the grid | Used (1 or 0) | All | 1 | All | 1
Semi-islanded | Semi-islandedflex | MeOH plant CCU with AEC | Load min (% of max capacity) | All | 0 | 2025 | 0.4
| Semi-islandedflex | NH3 plant + ASU with AEC | Load min (% of max capacity) | All | 0 | 2025 | 0.4
| Islanded | Electricity from the grid | Used (1 or 0) | All | 0 | All | 1
Islanded | Is_nonflex | MeOH plant CCU with AEC | Load min (% of max capacity) | All | 1 | 2025 | 0.4
| Is_nonflex | NH3 plant + ASU with AEC | Load min (% of max capacity) | All | 1 | 2025 | 0.4
| SI_nonflex | MeOH plant CCU with AEC | Load min (% of max capacity) | All | 1 | 2025 | 0.4
| SI_nonflex | NH3 plant + ASU with AEC | Load min (% of max capacity) | All | 1 | 2025 | 0.4
Islanded | Is_flex | MeOH plant CCU with AEC | Load min (% of max capacity) | All | 0 | 2025 | 0.4
| Is_flex | NH3 plant + ASU with AEC | Load min (% of max capacity) | All | 0 | 2025 | 0.4

## ScenariosToRun
Options available
| Name of the scenario in the output csv file | See Scenarios_definition sheet | Esbjerg | MeOH | PS | 2025 | Name of the excel file profile | AEC | Any data sheet name | Any name
|  |  | Ceduna | NH3 | DAC |  |  | SOEC
|  |  | Arica | H2 | None
|  |  | Zenderen | [12 empty] | Results to write
Scenario number | Scenario name | Scenario | Location | Fuel | CO2 capture | Year data | Profile name | Electrolyser | Input data sheet | Result folder name | Max capacity | Ramping | No negative elec price | Fixed heat sale | Fixed oxygen sale | Flows
1 | All | Semi-islanded | Twente | MeOH | PS | 2025 | 2024 | AEC | Data_base_case | Results_example | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE

## Sources
Reference tag in the comments and mendeley | Title | Main author | Year | Document type | Reliability | Link (doi is preferred) | Comment
MMZCS2023 | Communication with Mærsk Mc-Kinney Møller Center for Zero Carbon Shipping | Mærsk center | 2023 | Database |  |  | Communication with different industry partners. Final value is an "aggregate" of different values from the industry
BhmWP12023 | Assessment of resources available in Bornholm | WP1 | 2023 | Report
Adams2019 | Onboard Type IV Compressed Hydrogen Storage System - Cost and Performance Status (19008) | Adams | 2019 | Record 19008 NREL |  | https://www.hydrogen.energy.gov/program_records.html?print
Papadias2021 | Bulk storage of hydrogen | Papadias | 2021 | Article |  | https://www.sciencedirect.com/science/article/pii/S0360319921030834
Armijo2020 | Flexible production of green hydrogen and ammonia from variable solar and wind energy:Case study of Chile and Argentina | Armijo | 2020 | Article |  | https://doi.org/10.1016/j.ijhydene.2019.11.028
IEA2019 | IEA The future of hydrogen 2019 | IEA | 2019 | IEA Report |  | https://webstore.iea.org/the-future-of-hydrogen
Campion2023 | Techno-economic assessment of green ammonia production with different wind and solar potentials | Campion | 2023 | Article |  | https://doi.org/10.1016/j.rser.2022.113057
Induspart2023 | Communication with industrial partners | Induspart | 2023 | Database
NREL2020 | Annual technlogy baseline for hydrogen | NREL | 2020 | Webpage |  | https://atb.nrel.gov/transportation/2020/hydrogen | Data validated by industrial partners
Ikäheimo2018 | Power-to-ammonia in future North European 100 % renewable power and heat system | Ikäheimo | 2018 | Paper |  | https://www.sciencedirect.com/science/article/pii/S0360319918319931
DEAstor2020 | Technology data for energy storage | DEA | 2020 | Report/Catalogue |  | https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-energy-storage
Campion2021 | MarE-fuel: LCOE and optimal electricity supply strategies for P2X plants | Campion | 2021 | Report |  | https://backend.orbit.dtu.dk/ws/portalfiles/portal/264043718/MarE_Fuel_LCOE_and_optimal_electricity_supply_strategies_for_P2X_plants.pdf
https://doi.org/10.1038/s41560-020-00771-9
https://www.iea.org/reports/world-energy-outlook-2020
https://doi.org/10.1016/j.egypro.2017.03.1111
https://www.nrel.gov/docs/fy04osti/35404.pdf
https://www.nature.com/articles/s41558-021-01032-7
https://www.cei.washington.edu/education/science-of-solar/battery-technology/
https://www.iea.org/reports/net-zero-by-2050
https://www.hydrogen.energy.gov/pdfs/progress13/xi_5_elgowainy_2013.pdf
https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-industrial-process-heat-and
https://www.sciencedirect.com/science/article/pii/B9781782423645000075
https://www.sciencedirect.com/science/article/pii/S0360319921030834
https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-generation-electricity-and
https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-renewable-fuels
https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-carbon-capture-transport-and
https://op.europa.eu/en/publication-detail/-/publication/1f55ca82-3451-11e6-969e-01aa75ed71a1/language-en
https://www.nordicenergy.org/project/np2x/
http://dx.doi.org/10.2139/ssrn.4154006
https://orbit.dtu.dk/en/projects/electro-fuels-for-long-range-maritime-transport
https://www.danskfjernvarme.dk/groen-energi/analyser/210512-power-to-x-og-fjernvarme